8.5 Fire safety and emergency evacuation

Policy statement

At Pear Tree nursery we ensure our premises present no risk of fire by ensuring the highest possible standard of fire precautions. The person in charge and staff are familiar with the current legal requirements. Where necessary we seek the advice of a competent person, such as a Fire Officer, or Fire Safety Consultant through the Council.

Procedures

- The basis of fire safety is risk assessment, carried out by a ‘competent person’.

- Where we rent premises, we will ensure that we have a copy of the fire safety risk assessment that applies to the building and that we contribute to regular reviews if asked to do so.

- Fire doors are clearly marked, never obstructed and easily opened from the inside.

- Smoke detectors/alarms and fire fighting appliances conform to BS EN standards, are fitted in appropriate high risk areas of the building and are checked through the Council on a regular basis.

- Our emergency evacuation procedures are:

- clearly displayed in the premises;

- explained to new members of staff, volunteers and parents; and

- practised regularly, at least once every 3-4 months – as laid in the annual calendar

- Records are kept of fire drills and of the servicing of fire safety equipment.

- We also test our call points on a regular basis along with the buildings adjoining the setting.

Emergency evacuation procedure

The fire drill record book must contain:

- The date and time of the drill.

- How long it took.

- Whether there were any problems that delayed evacuation.

- Any further action taken to improve the drill procedure.

Legal framework

- Regulatory Reform (Fire Safety) Order 2005

Further guidance

- Fire Safety Risk Assessment - Educational Premises (HMG 2006)

| This policy was adopted at a meeting of | Pear tree nursery | (name of provider) |
| --- | --- | --- |
| Held on | 03.01.2020 | (date) |
| Date to be reviewed | 03.01.2021 | (date) |
| Signed on behalf of the provider |  |  |
| Name of signatory |  |  |
| Role of signatory (e.g. chair, director or owner) |  |  |